## Information
Appendix F: Uranium analysis Quality Assurance/Quality Control (QA/QC) - as refered to in section 3.6.3: Quality control and quality assurance (QA/QC) of leachate analysis (page 62)
Contents
1. In house ICP-OES analysis - Uranium analysis carried out in house on an ICP-OES.
2. External ICP-MS analysis - Uranium analysis carried out at an external laboratory on an ICP-MS.
3. QAQC - Calculation on the percentage difference between the analysis of leachate.
Protocols are identified along the top of the table and the spaces in the table are to accomodate the different cycles of the tests.

## 1. In house ICP-OES analysis
Limit of detection | 0.11
Uranium ICP-OES (mg/kg/cycle)
Week | Control |  |  | Double flush |  |  | Weekly |  |  | 4 weekly |  |  | Nutrient |  |  | Recycle |  |  | Ferric
| Cell A | Cell B | Average | Cell A | Cell B | Average | Cell A | Cell B | Average | Cell A | Cell B | Average | Cell A | Cell B | Average | Cell A | Cell B | Average | Cell A | Cell B | Average
0 | 17.0899 | 18.2906 | 17.6902 | 18.8576 | 16.2339 | 17.5457 | 30.5234 | 30.4835 | 30.5035 | 32.6469 | 26.5982 | 29.6226 | 22.9578 | 20.3195 | 21.6386 | 18.7365 | 15.6075 | 17.172 | 33.7027 | 32.0719 | 32.8873
0 | 0 | 0 | 0 | 1.9028 | 2.1098 | 2.0063 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 0 | 0 | 0 | 0 | 0 | 0 | 3.2947 | 3.8932 | 3.5939 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 3.5886 | 3.9921 | 3.7904 | 1.8227 | 1.9122 | 1.8674 | 1.6835 | 1.8519 | 1.7677 | 0 | 0 | 0 | 7.6429 | 5.5534 | 6.5981 | 25.1673 | 20.0333 | 22.6003 | 24.58 | 22.6534 | 23.6167
2 | 0 | 0 | 0 | 0.59963 | 0.59493 | 0.59728 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 1.9373 | 2.0259 | 1.9816 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 5.0722 | 4.8263 | 4.9493 | 2.5259 | 2.0701 | 2.298 | 1.2672 | 1.3931 | 1.3301 | 16.1129 | 12.724 | 14.4184 | 8.9284 | 5.7006 | 7.3145 | 26.2195 | 19.4861 | 22.8528 | 19.9427 | 19.8927 | 19.9177
4 | 0 | 0 | 0 | 0.65629 | 0.54381 | 0.60005 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8481 | 1.8745 | 1.8613 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 8.8285 | 6.4996 | 7.6641 | 3.3223 | 2.2818 | 2.8021 | 1.822 | 2.1854 | 2.0037 | 0 | 0 | 0 | 10.4426 | 7.4994 | 8.971 | 36.6516 | 30.6977 | 33.6746 | 20.8301 | 20.6832 | 20.7566
6 | 0 | 0 | 0 | 0.82589 | 0.54051 | 0.6832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0 | 0 | 0 | 0 | 0 | 0 | 1.9807 | 2.3093 | 2.145 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 12.0531 | 9.0057 | 10.5294 | 3.7646 | 2.6197 | 3.1922 | 2.4346 | 2.616 | 2.5253 | 35.4629 | 29.4181 | 32.4405 | 2.4346 | 3.1115 | 2.773 | 49.5001 | 46.8968 | 48.1984 | 21.807 | 21.0167 | 21.4119
8 | 0 | 0 | 0 | 1.0573 | 0.58718 | 0.82225 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3571 | 2.5006 | 2.4288 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | 9.9411 | 9.3855 | 9.6633 | 3.5926 | 2.0275 | 2.81 | 1.8831 | 2.0695 | 1.9763 | 0 | 0 | 0 | 1.0074 | 1.2807 | 1.144 | 52.17 | 47.9481 | 50.059 | 15.3239 | 14.7649 | 15.0444
10 | 0 | 0 | 0 | 0.94698 | 0.53221 | 0.7396 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8726 | 1.9731 | 1.9228 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 11.1608 | 10.4015 | 10.7811 | 3.215 | 1.947 | 2.581 | 2.2876 | 2.4263 | 2.3569 | 35.117 | 34.4052 | 34.7611 | 1.2228 | 1.6161 | 1.4195 | 61.5645 | 56.1222 | 58.8434 | 13.0828 | 14.2328 | 13.6578
12 | 0 | 0 | 0 | 1.0655 | 0.53391 | 0.79969 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 0 | 0 | 0 | 0 | 0 | 0 | 1.9692 | 2.0693 | 2.0192 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 11.377 | 11.525 | 11.451 | 3.7845 | 2.5338 | 3.1592 | 2.3156 | 2.257 | 2.2863 | 0 | 0 | 0 | 0.70576 | 0.45068 | 0.57822 | 67.1754 | 63.0585 | 65.1169 | 13.7047 | 13.0386 | 13.3716
14 | 0 | 0 | 0 | 1.1512 | 0.63232 | 0.89175 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3376 | 1.4635 | 1.4005 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 6.0157 | 5.0301 | 5.5229 | 1.6349 | 1.1572 | 1.396 | 0.79104 | 0.84267 | 0.81686 | 24.8527 | 22.1186 | 23.4857 | 0.070966 | 0.030904 | 0.050935 | 59.2208 | 56.8697 | 58.0453 | 8.4147 | 8.2114 | 8.313
16 | 0 | 0 | 0 | 0.64503 | 0.4225 | 0.53377 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 0 | 0 | 0 | 0 | 0 | 0 | 0.83194 | 0.87018 | 0.85106 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 5.0783 | 4.9683 | 5.0233 | 1.9853 | 1.3107 | 1.648 | 0.57083 | 0.5138 | 0.54231 | 0 | 0 | 0 | 0.12976 | 0.032762 | 0.081259 | 58.928 | 56.7507 | 57.8394 | 7.1081 | 7.6702 | 7.3891
18 | 0 | 0 | 0 | 0.64302 | 0.41369 | 0.52836 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 0 | 0 | 0 | 0 | 0 | 0 | 0.82069 | 0.85987 | 0.84028 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 4.3745 | 4.5095 | 4.442 | 1.5912 | 1.2392 | 1.4152 | 0.81566 | 0.9197 | 0.86768 | 21.2169 | 18.3589 | 19.7879 | 0.10252 | 0.036444 | 0.069483 | 63.685 | 61.2585 | 62.4717 | 7.531 | 7.2329 | 7.382
20 | 0 | 0 | 0 | 0.63393 | 0.45918 | 0.54655 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 0 | 0 | 0 | 0 | 0 | 0 | 0.76957 | 0.87119 | 0.82038 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 4.7083 | 4.9041 | 4.8062 | 1.4014 | 1.2528 | 1.3271 | 0.89887 | 0.94176 | 0.92031 | 0 | 0 | 0 | 0.1882 | 0.11558 | 0.15189 | 63.9611 | 61.7546 | 62.8579 | 7.209 | 6.9865 | 7.0977
22 | 0 | 0 | 0 | 0.59482 | 0.53956 | 0.56719 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95442 | 1.2306 | 1.0925 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 5.9084 | 6.3065 | 6.1074 | 1.627 | 1.5362 | 1.5816 | 0.86743 | 0.97149 | 0.91946 | 21.7409 | 19.4506 | 20.5957 | 0.13079 | 0.065357 | 0.098071 | 69.2892 | 66.5683 | 67.9288 | 8.2803 | 8.1991 | 8.2397
24 | 0 | 0 | 0 | 0.68197 | 0.56472 | 0.62335 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 0 | 0 | 0 | 0 | 0 | 0 | 0.83922 | 0.93725 | 0.88824 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 4.6608 | 4.8278 | 4.7443 | 1.3073 | 1.4395 | 1.3734 | 0.68018 | 0.71874 | 0.69946 | 0 | 0 | 0 | 0.17824 | 0.15024 | 0.16424 | 63.5845 | 64.2878 | 63.9362 | 6.8494 | 6.6474 | 6.7484
26 | 0 | 0 | 0 | 0.56901 | 0.60875 | 0.58888 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 0 | 0 | 0 | 0 | 0 | 0 | 0.6488 | 0.69219 | 0.6705 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 4.7245 | 4.8601 | 4.7923 | 1.1973 | 1.4348 | 1.3161 | 0.65074 | 0.68268 | 0.66671 | 16.894 | 15.0333 | 15.9636 | 0.16373 | 0.28496 | 0.22434 | 63.5065 | 64.2006 | 63.8536 | 6.2842 | 6.1615 | 6.2228
28 | 0 | 0 | 0 | 0.53054 | 0.55955 | 0.54504 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 0 | 0 | 0 | 0 | 0 | 0 | 0.65337 | 0.70118 | 0.67727 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 3.799 | 4.0214 | 3.9102 | 0.93547 | 1.2702 | 1.1028 | 0.67766 | 0.68326 | 0.68046 | 0 | 0 | 0 | 0.12542 | 0.32994 | 0.22768 | 66.5091 | 67.5087 | 67.0089 | 5.8877 | 5.6362 | 5.7619
30 | 0 | 0 | 0 | 0.48676 | 0.53405 | 0.51041 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31 | 0 | 0 | 0 | 0 | 0 | 0 | 0.56751 | 0.57807 | 0.57279 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
32 | 3.3981 | 3.3641 | 3.3811 | 0.80918 | 0.94816 | 0.87867 | 0.46121 | 0.49308 | 0.47714 | 15.0065 | 13.2396 | 14.1231 | 0.089968 | 0.19648 | 0.14323 | 63.8973 | 68.2853 | 66.0913 | 5.3197 | 4.9851 | 5.1524
32 | 0 | 0 | 0 | 0.39619 | 0.42675 | 0.41147 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
33 | 0 | 0 | 0 | 0 | 0 | 0 | 0.46089 | 0.44193 | 0.45141 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
34 | 2.869 | 2.8257 | 2.8474 | 0.70848 | 0.71962 | 0.71405 | 0.43988 | 0.4431 | 0.44149 | 0 | 0 | 0 | 0.044348 | 0.072909 | 0.058628 | 63.634 | 66.0436 | 64.8388 | 4.5875 | 4.5761 | 4.5818
34 | 0 | 0 | 0 | 0.34493 | 0.31203 | 0.32848 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
35 | 0 | 0 | 0 | 0 | 0 | 0 | 0.38295 | 0.37366 | 0.3783 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
36 | 1.805 | 1.659 | 1.732 | 0.47816 | 0.39693 | 0.43755 | 0.27277 | 0.26091 | 0.26684 | 9.6268 | 8.7978 | 9.2123 | 0.04784 | 0.053726 | 0.050783 | 57.4498 | 60.6513 | 59.0506 | 3.5079 | 3.8455 | 3.6767
36 | 0 | 0 | 0 | 0.24754 | 0.22092 | 0.23423 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
37 | 0 | 0 | 0 | 0 | 0 | 0 | 0.22721 | 0.23745 | 0.23233 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
38 | 1.5505 | 1.6386 | 1.5946 | 0.40276 | 0.3135 | 0.35813 | 0.30532 | 0.29733 | 0.30132 | 0 | 0 | 0 | 0.06058 | 0.056441 | 0.05851 | 56.5892 | 58.2894 | 57.4393 | 3.3857 | 3.7356 | 3.5606
38 | 0 | 0 | 0 | 0.2496 | 0.21688 | 0.23324 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
39 | 0 | 0 | 0 | 0 | 0 | 0 | 0.26546 | 0.24594 | 0.2557 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
40 | 1.3092 | 1.3442 | 1.3267 | 0.33798 | 0.27869 | 0.30833 | 0.24643 | 0.2324 | 0.23941 | 6.7438 | 7.1092 | 6.9265 | 0.059696 | 0.059249 | 0.059472 | 48.7728 | 57.6929 | 53.2328 | 2.8733 | 3.2271 | 3.0502
40 | 0 | 0 | 0 | 0.21349 | 0.19761 | 0.20555 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
41 | 0 | 0 | 0 | 0 | 0 | 0 | 0.26107 | 0.24358 | 0.25233 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
42 | 0.90227 | 0.87869 | 0.89048 | 0.34149 | 0.26887 | 0.30518 | 0.26414 | 0.23778 | 0.25096 | 0 | 0 | 0 | 0.05412 | 0.055104 | 0.054612 | 47.6511 | 55.7421 | 51.6966 | 2.6569 | 3.1884 | 2.9227
42 | 0 | 0 | 0 | 0.23389 | 0.20528 | 0.21959 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
43 | 0 | 0 | 0 | 0 | 0 | 0 | 0.24097 | 0.22478 | 0.23288 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
44 | 0.99551 | 1.362 | 1.1787 | 0.21614 | 0.16869 | 0.19242 | 0.16602 | 0.14493 | 0.15547 | 5.3473 | 4.6648 | 5.006 | 0.057514 | 0.059065 | 0.05829 | 45.0824 | 52.7669 | 48.9247 | 2.2247 | 2.6084 | 2.4165
44 | 0 | 0 | 0 | 0.14767 | 0.12433 | 0.136 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
45 | 0 | 0 | 0 | 0 | 0 | 0 | 0.17423 | 0.16292 | 0.16857 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
46 | 0.85186 | 0.79264 | 0.82225 | 0.23389 | 0.18339 | 0.20864 | 0.18496 | 0.15635 | 0.17066 | 0 | 0 | 0 | 0.040636 | 0.041082 | 0.040859 | 45.0731 | 0 | 22.5365 | 2.2686 | 2.7041 | 2.4864
46 | 0 | 0 | 0 | 0.16968 | 0.14277 | 0.15623 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
47 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1716 | 0.15477 | 0.16319 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
48 | 1.0054 | 1.0251 | 1.0152 | 0.20338 | 0.15229 | 0.17783 | 0.18691 | 0.15062 | 0.16876 | 4.227 | 4.0187 | 4.1229 | Christmas |  | Christmas | 46.6379 | 53.9981 | 50.318 | 2.3445 | 2.9557 | 2.6501
48 | 0 | 0 | 0 | 0.15908 | 0.13102 | 0.14505 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
49 | 0 | 0 | 0 | 0 | 0 | 0 | Christmas |  | Christmas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
50 | 1.1359 | 1.0397 | 1.0878 | 0.21934 | 0.15912 | 0.18923 | 0.29096 | 0.22546 | 0.25821 | 0 | 0 | 0 | 0.041393 | 0.042438 | 0.041915 | 45.1496 | 52.6626 | 48.9061 | 2.3637 | 2.9922 | 2.6779
50 | 0 | 0 | 0 | 0.15403 | 0.12961 | 0.14182 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
51 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2385 | 0.32424 | 0.28137 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
52 | 1.2738 | 1.0756 | 1.1747 | 0.2215 | 0.15069 | 0.1861 | 0.21261 | 0.19632 | 0.20447 | 4.0239 | 3.6003 | 3.8121 | 0.020849 | 0.023731 | 0.02229 | 40.0267 | 46.5326 | 43.2797 | 2.2614 | 2.8083 | 2.5349
52 | 0 | 0 | 0 | 0.14665 | 0.11297 | 0.12981 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## 2. External ICP-MS analysis
Limit of detection | 10 | [6 empty] | 0.01
| Uranium ICP-MS (ng/mL) | [6 empty] | Uranium ICP-MS (mg/L) | [6 empty] | Uranium ICP-MS (mg/kg)
Week | Control | Double flush | Weekly | 4 weekly | Nutrient | Recycle | Ferric | Control | Double flush | Weekly | 4 weekly | Nutrient | Recycle | Ferric | Control | Double flush | Weekly | 4 weekly | Nutrient | Recycle | Ferric
| Average | Average | Average | Average | Average | Average | Average | Average | Average | Average | Average | Average | Average | Average | Average | Average | Average | Average | Average | Average | Average
0 | 31496.7146 | 43356.5815 | 52490.1264 | 52061.834 | 36589.6383 | 32306.6925 | 72797.7394 | 31.4967 | 43.3566 | 52.4901 | 52.0618 | 36.5896 | 32.3067 | 72.7977 | 19.6661 | 27.2407 | 34.169 | 32.5931 | 22.074 | 19.5286 | 43.798
0 | 0 | 3863.2017 | 0 | 0 | 0 | 0 | 0 |  | 3.8632 | [6 empty] | 2.8685
1 | 0 | 0 | 6569.6648 | 0 | 0 | 0 | 0 |  |  | 6.5697 | [6 empty] | 3.1917
2 | 6569.8699 | 3209.8144 | 3103.7762 | 0 | 12389.9356 | 38318.2949 | 37120.4685 | 6.5699 | 3.2098 | 3.1038 |  | 12.3899 | 38.3183 | 37.1205 | 3.1248 | 1.525 | 1.5145 |  | 6.2036 | 18.5432 | 18.3355
2 | 0 | 999.7488 | 0 | 0 | 0 | 0 | 0 |  | 0.99975 | [6 empty] | 0.49525
3 | 0 | 0 | 2449.4572 | 0 | 0 | 0 | 0 |  |  | 2.4495 | [6 empty] | 1.2468
4 | 8476.9071 | 4622.1343 | 2230.3558 | 27755.5845 | 14383.0881 | 41425.5774 | 36650.2453 | 8.4769 | 4.6221 | 2.2304 | 27.7556 | 14.3831 | 41.4256 | 36.6502 | 4.1672 | 2.2695 | 1.0981 | 13.3475 | 6.9667 | 20.5226 | 18.2089
4 | 0 | 1181.4407 | 0 | 0 | 0 | 0 | 0 |  | 1.1814 | [6 empty] | 0.58584
5 | 0 | 0 | 2470.2767 | 0 | 0 | 0 | 0 |  |  | 2.4703 | [6 empty] | 1.2465
6 | 13993.4985 | 6317.3133 | 6023.2197 | 0 | 16066.2533 | 57119.1753 | 38826.1282 | 13.9935 | 6.3173 | 6.0232 |  | 16.0663 | 57.1192 | 38.8261 | 6.9762 | 3.1141 | 8.978 |  | 7.9073 | 27.8667 | 18.6859
6 | 0 | 1384.4815 |  | 0 | 0 | 0 | 0 |  | 1.3845 | [6 empty] | 0.67273
7 | 0 | 0 |  | 0 | 0 | 0 | 0
8 | 31304.7127 | #N/A |  | 89232.5428 | 8874.2407 | 110967.8172 | 63639.9136 | 31.3047 | #N/A |  | 89.2325 | 8.8742 | 110.9678 | 63.6399 | 15.1936 | #N/A |  | 41.088 | 4.2858 | 54.023 | 31.1931
8 | 0 | 3054.3084 |  | 0 | 0 | 0 | 0 |  | 3.0543 | [6 empty] | 1.5008
9 | 0 | 0 | 2948.5615 | 0 | 0 | 0 | 0 |  |  | 2.9486 | [6 empty] | 4.3946
10 | 16708.8615 | 6145.8073 |  | 0 | 2077.4358 | 75910.5736 | 29207.9103 | 16.7089 | 6.1458 |  |  | 2.0774 | 75.9106 | 29.2079 | 7.902 | 3.0063 |  |  | 1.0241 | 37.3412 | 13.9278
10 | 0 | 1222.7698 |  | 0 | 0 | 0 | 0 |  | 1.2228 | [6 empty] | 0.60655
11 | 0 | 0 |  | 0 | 0 | 0 | 0
12 | 16404.7306 | 3240.4658 | 3430.5144 | 52303.8132 | 1532.5591 | 100807.4308 | 23041.3663 | 16.4047 | 3.2405 | 3.4305 | 52.3038 | 1.5326 | 100.8074 | 23.0414 | 24.3528 | 6.4836 | 5.0359 | 26.1067 | 2.2809 | 150.2757 | 34.0766
12 |  |  |  | 0
13 |  |  |  | 0
14 |  |  |  | 0
14 |  |  |  | 0
15 |  | 0 | 1375.0849 | 0 | [5 empty] | 1.3751 | [6 empty] | 2.1188
16 |  | 2487.4374 |  | 52146.3615 |  |  |  |  | 2.4874 |  | 52.1464 |  |  |  |  | 4.8829 |  | 25.4644
16 |  |  |  | 0
17 |  |  |  | 0 | 0 | 0 | 0
18 | 12342.2145 |  | 1412.5213 | 0 | 187.2701 | 84388.0383 | 18625.0058 | 12.3422 |  | 1.4125 |  | 0.18727 | 84.388 | 18.625 | 17.8908 |  | 2.1025 |  | 0.27241 | 123.1078 | 27.4838
18 |  |  |  | 0
19 |  | 0 |  | 0
20 |  | 2329.3306 |  | 47013.2218 |  |  |  |  | 2.3293 |  | 47.0132 |  |  |  |  | 4.6201 |  | 22.356
20 |  |  |  | 0
21 |  |  | 1594.8254 | 0 | [5 empty] | 1.5948 | [6 empty] | 2.3714
22 |  |  |  | 0
22 |  |  |  | 0
23 |  | 0 |  | 0 | 0 | 0 | 0
24 | 9008.597 | 2029.3846 | 1162.6302 | 38953.5257 | 292.9367 | 79219.7595 | 14506.4368 | 9.0086 | 2.0294 | 1.1626 | 38.9535 | 0.29294 | 79.2198 | 14.5064 | 13.1115 | 4.0347 | 1.7269 | 18.761 | 0.43244 | 116.8682 | 21.3586
24 |  |  |  | 0
25 |  |  |  | 0
26 |  |  |  | 0
26 |  |  |  | 0
27 |  | 0 | 1182.1818 | 0 | [5 empty] | 1.1822 | [6 empty] | 1.7558
28 |  | 1728.1531 |  | 32363.545 |  |  |  |  | 1.7282 |  | 32.3635 |  |  |  |  | 3.3949 |  | 15.5656
28 |  |  |  | 0
29 |  |  |  | 0 | 0 | 0 | 0
30 | 5491.3122 |  | 794.3861 | 0 | 195.0591 | 74692.7067 | 9112.2443 | 5.4913 |  | 0.79439 |  | 0.19506 | 74.6927 | 9.1122 | 8.0273 |  | 1.1664 |  | 0.28729 | 109.6123 | 13.3993
30 |  |  |  | 0
31 |  | 0 |  | 0
32 |  | 1026.9557 |  | 25437.4295 |  |  |  |  | 1.027 |  | 25.4374 |  |  |  |  | 2.0319 |  | 12.4423
32 |  |  |  | 0
33 |  |  | 592.1884 | 0 | [5 empty] | 0.59219 | [6 empty] | 0.8731
34 |  |  |  | 0
34 |  |  |  | 0
35 |  | 0 |  | 0 | 0 | 0 | 0
36 | 2597.3002 | 563.9501 | 477.2995 | 17350.1408 | 15.7231 | 84212.0093 | 7123.9674 | 2.5973 | 0.56395 | 0.4773 | 17.3501 | 0.015723 | 84.212 | 7.124 | 3.8059 | 1.1177 | 0.7064 | 8.2809 | 0.023304 | 124.1971 | 10.5215
36 |  |  |  | 0
37 |  |  |  | 0
38 |  |  |  | 0
38 |  |  |  | 0
39 |  | 0 | 470.4873 | 0 | [5 empty] | 0.47049 | [6 empty] | 0.69694
40 |  | 424.0025 |  | 9022.94 |  |  |  |  | 0.424 |  | 9.0229 |  |  |  |  | 0.84056 |  | 4.438
40 |  |  |  | 0
41 |  |  |  | 0 | 0 | 0 | 0
42 | 1624.5646 |  | 231.1205 | 0 | 5.9462 | 58448.5343 | 3872.3995 | 1.6246 |  | 0.23112 |  | 0.0059462 | 58.4485 | 3.8724 | 2.4541 |  | 0.34258 |  | 0.0087042 | 86.5702 | 5.7138
42 |  |  |  | 0
43 |  | 0 |  | 0
44 |  | 265.805 |  | 7548.7712 |  |  |  |  | 0.2658 |  | 7.5488 |  |  |  |  | 0.52745 |  | 3.6409
44 |  |  |  | 0
45 |  |  | 248.6689 | 0 | [5 empty] | 0.24867 | [6 empty] | 0.34191
46 |  |  |  | 0
46 |  |  |  | 0
47 |  | 0 |  | 0 | 0 | 0 | 0
48 | 1867.4977 | 282.3592 | Christmas | 4812.3982 | Christmas | 62388.9756 | 3408.2952 | 1.8675 | 0.28236 | Christmas | 4.8124 | Christmas | 62.389 | 3.4083 | 2.7444 | 0.55711 | Christmas | 2.2889 | Christmas | 92.1622 | 5.0241
48 |  |  | 339.4636 | 0 | 0 |  |  |  |  | 0.33946 | [6 empty] | 0.48879
49 |  |  |  | 0 | 0
50 |  |  |  | 0 | 11.8052 | [6 empty] | 0.011805 | [6 empty] | 0.011498
50 |  |  |  | 0
51 |  | 0 |  | 0
52 |  | 263.3506 | 322.2431 | 4747.5806 |  |  |  |  | 0.26335 | 0.32224 | 4.7476 |  |  |  |  | 0.26024 | 0.16338 | 2.3223
52 |  |  |  | 0

## 3. QAQC
| Control | Double flush | Weekly | 4 weekly | Nutrient | Recycle | Ferric
Cumulative U extracted (mg/kg) | Average | Average | Average | Average | Average | Average | Average
CLEER in-house ICP-OES | 132.9184 | 65.2971 | 79.9802 | 234.2784 | 52.0935 | 43.2797 | 253.529
External ICP-MS | 129.4167 | 72.6363 | 75.73 | 228.6954 | 51.7781 | 62.389 | 261.7268
Percentage difference* (%) | 2.7057 | 10.1041 | 5.6123 | 2.4412 | 0.60914 | 30.6293 | 3.1322
* percentage difference calculated between external ICP-MS vs. CLEER ICP-OES